Ordering Instructions for Low-Voltage Switchgear

If you choose our products, please provide the following data in order to provide you with better

| Project | Technical Requirements/Options |
| --- | --- |
| Product Type | □ MNS □ GCS □ GCK □ GGD □ Other |
| Rated Voltage | V (e.g. AC400V) |
| Main Busbar | A (e.g. 4000A, 6300A) / □ Copper □ Aluminum |
| Short-time Withstand Current | kA/1s (e.g. 50kA) |
| Protection Degree | □ IP30 □ IP40 □ IP54 (Outdoor) |
| Feeder Circuits | Incomer: circuit / Outgoing: circuit |
| Enclosure | □ Fixed □ Withdrawable |
| Smart Monitoring | □ Temp. Sensor □ RS485/Modbus |
| Environment | Humidity: % / Ambient Temp: ℃ |
| Color | □ RAL7035 (Standard gray) □ 定制 |
| Special Requirements |  |
| Order Quantity | (pcs) |
| Delivery Lead Time | (YYYY/MM/DD) |
| Deliver y met hod |  |
| Modes of transport |  |
| Place of delivery |  |